O P I N I O N

by Assoc. Prof. Dr. Eng. Orlin Lyubomirov Petrov

University of Ruse "Angel Kanchev"

on the dissertation work of Mag. Eng. Miroslav Lyubomirov Angelov

on the topic "Research and analysis of the electricity efficiency of photovoltaic power plants connected to the transmission and distribution network",

submitted for the acquisition of the educational and scientific degree "doctor" in the doctoral program "Power supply and electrical equipment (by industries)" in the professional field 5.2. Electrical engineering, electronics and automation.

1. Relevance and significance of the developed scientific problem

Renewable energy sources already have a large share in the country's energy mix, which, given the depreciated and undesigned for high load networks, is a serious prerequisite for the emergence of problems related to the disruption of the sustainability and reliability of the electricity system.

The construction of large-capacity photovoltaic parks in our country is an inappropriate solution. This approach creates problems for the network infrastructure in terms of regulating load regimes and energy redistribution, high fees are paid for long-distance transmission and large losses of power and electrical energy occur. In this regard, a significantly more favorable and effective solution is decentralized production, in which generation and consumption take place almost in the same place, and the effectiveness of this approach increases significantly with the addition of energy storage systems.

The European goals by 2030 for a 40% reduction in emissions compared to 1990 are a 27% share of RES in energy consumption and a 27% improvement in energy efficiency. In this regard, it is necessary to develop such procedures, algorithms, instructions and regulations of the institutions aimed at maximum use of the capacity of installed RES, respectively PV.

The dissertation work has been developed in this direction and is very relevant at the present time.

2. Analysis of the literature used

The doctoral student has used specialized literary sources - a total of 220, of which: 47 in Cyrillic; 47 in Latin (English); 126 Internet sites. Most of the literary sources have been published in the last 10..15 years.

3. Assessment of the abstract and the author's publications related to the dissertation work.

The abstract is written in accordance with the regulatory requirements and correctly reflects the structure, content and main scientific-applied and applied contributions of the dissertation work.

The dissertation work and the abstract present 11 publications by the author, 1 of which is independent and 10 in co-authorship with two or more co-authors. The same have been presented at various conferences in Bulgaria, and some of them are indexed in the world-famous Scopus databases. All were published in 2023, 2024 and 2025.

They reflect the main research presented in the dissertation.

The presented publications, according to the minimum national criteria (Indicator G7 and G8, for the field of science 5), bring the author 113.29 points (as follows from indicators G7-59.99; G8-53.3), which is much more than the required minimum of 30 points.

4. Assessment of the scientific results and contributions of the dissertation.

I accept the claims for the contributions made in the dissertation of Mag. Eng. Miroslav Angelov (5 pieces in total). In short, they can be summarized as: enrichment of existing knowledge and application of scientific achievements to improve the efficiency of photovoltaic systems connected to the energy system.

The contributions can be formulated as:

Scientific and applied contributions – 2 pieces, defined by the PhD Student;

Applied contributions – 3 pieces, defined by the PhD Student.

I believe that the contributions achieved are the work of the dissertation and are significant for science, and practically applicable in the field of design and operation of photovoltaic power plants connected to the energy system.

5. Critical notes and recommendations

The following more significant notes and recommendations can be made on the presented dissertation work and the abstract to it:

1. It is not clear why three terms and their corresponding abbreviations (PVS – photovoltaic system; PVT – photovoltaic power plant; PPC – photovoltaic power plant) were used for a photovoltaic power plant.

2. The layout of the list of literature used does not correspond to the generally accepted arrangement. A large part of the bibliographical description of the sources used is missing. All Internet addresses are given without any comment on them. It is good to give at least the name of the relevant material and the date of its access.

3. Most of the figures in Chapter 1 are of unsatisfactory quality.

4. Some spelling and punctuation errors were made in the preparation of the dissertation.

Regardless of the critical remarks and recommendations made, which are mainly of a purely editorial nature, I would like to note the good scientific level of the dissertation work. It is obvious that the author has made efforts to conduct the individual studies and subsequently the results obtained should be processed and displayed in an appropriate manner.

I recommend that the doctoral student's work in this area continue and that an attempt be made to apply the derived methodologies to newly designed photovoltaic capacities.

6. Conclusion and evaluation of the dissertation work

The dissertation work provided to me for an opinion contains justified and targeted research, as well as developments on the formulated goal and tasks therein.

I believe that the set goal has been achieved, and I can give my positive assessment of the dissertation work provided to me for an opinion.

I propose to the scientific jury to award the educational and scientific degree of Doctor to Mag. Eng. Miroslav Lyubomirov Angelov, in the field of sciences 5. Technical sciences, professional field 5.2. Electrical engineering, electronics and automation, scientific specialty "Power supply and electrical equipment (by industry)".

23.03.2026 					Jury member:

Ruse 								/Assoc. Prof. Dr. O. Petrov/